**DUCK LAKE**

**2020 Water sampling results in E-Coli/ml**

****

Rainbow Pond inlet – **153.9**/66.7

Readings of 100 or more are retested and nearby residents notified if results remain high.

Mason Creek – 82.0

Brigham Creek – **145.5/166.4 R2.1**

Burdinie Creek – 20.8

Tonawanda Creek – 55.4

State Park swim area – 3.1

Canal – 35.9

Brookside swim area – 5.2

Southwest sand bar swim area – 1.0

Interlochen swim area – nnnnNna28.8

Horton Creek -0.0

Dam Outlet – 0.0